## ITA Report Template
Scenario | BAU | 4043a50f-52b9-482a-90dd-8f7ea417182a | 3ccb973a-e9ed-405e-bb41-4fcb0f4bb9a5
PV Size (kW) |  | 2837.237 | 3293.6635 | Values in red are formulas. Do not input anything.
Wind Size (kW) |  | 583.38
CHP Size (kW) |  | 273.9314 | 273.9314
PV Total Electricity Produced (kWh) |  | 4244701.21 | 4927546.14
PV Exported to Grid (kWh)
PV Serving Load (kWh) |  | 2935677.738 | 3247900.461
Wind Total Electricity Produced (kWh) |  | 1285854
Wind Exported to Grid (kWh)
Wind Serving Load (kWh) |  | 997809.852
CHP Total Electricity Produced (kWh) |  | 1699558.091 | 1797415.524
CHP Exported to Grid (kWh)
CHP Serving Load (kWh) |  | 1601873.021 | 1715978.762
CHP Serving Thermal Load (MMBtu) |  | 4482.1551 | 4424.0631
Grid Purchased Electricity (kWh) | 7752817 | 1137496.13 | 1709342.09
Total Site Electricity Use (kWh) | 0 | 0 | 0
Net Purchased Electricity Reduction (%) | 0 | 0 | 0
Electricity Energy Cost ($) | 1139796.63 | 164899.78 | 248173.27
Electricity Demand Cost ($) | 960053.12 | 250070.6 | 297813.54
Utility Fixed Cost ($) | 41015 | 41015 | 41015
Purchased Electricity Cost ($) | 0 | 0 | 0
Electricity Export Benefit ($)
Net Electricity Cost ($) | 0 | 0 | 0
Electricity Cost Savings ($/year) | 0 | 0 | 0
Boiler Fuel (MMBtu)
CHP Fuel (MMBtu) |  | 18586.964 | 19657.168
Total Fuel (MMBtu) | 0 | 0 | 0
Natural Gas Reduction (%) | 0 | 0 | 0
Boiler Thermal Production (MMBtu)
CHP Thermal Production (MMBtu) |  | 4482.155 | 4424.063
Total Thermal Production (MMBtu) | 0 | 0 | 0
Heating System Fuel Cost ($)
CHP Fuel Cost ($) |  | 167282.68 | 176914.51
Total Fuel (NG) Cost ($) | 0 | 0 | 0
Total Utility Cost ($) | 0 | 0 | 0
O&M Cost Increase ($) |  | 2124223.3731 | 2019819.9387
Payback Period (years) |  | 4.91 | 4.54
Gross Capital Cost ($) |  | 6822641.6496 | 5861847.6712
Federal Tax Incentive (30%)
IAC Grant ($)
Incentive Value ($) | 0 | 0 | 0
Net Capital Cost ($) | 0 | 0 | 0
Annual Cost Savings ($) | 0 | 0 | 0
Simple Payback (years) | 0 | 0 | 0
CO2 Emissions (tonnes) | 774.4244 | 1204.2116 | 1304.7108
CO2 Reduction (tonnes) | 0 | 0 | 0
CO2 (%) savings | 0 | 0 | 0
NPV |  | 8905826.91 | 8458588.15