## ITA Report Template
Scenario | PV Size (kW) | Wind Size (kW) | CHP Size (kW) | PV Total Electricity Produced (kWh) | PV Exported to Grid (kWh) | PV Serving Load (kWh) | Wind Total Electricity Produced (kWh) | Wind Exported to Grid (kWh) | Wind Serving Load (kWh) | CHP Total Electricity Produced (kWh) | CHP Exported to Grid (kWh) | CHP Serving Load (kWh) | CHP Serving Thermal Load (MMBtu) | Grid Purchased Electricity (kWh) | Total Site Electricity Use (kWh) | Net Purchased Electricity Reduction (%) | Electricity Energy Cost ($) | Electricity Demand Cost ($) | Utility Fixed Cost ($) | Purchased Electricity Cost ($) | Electricity Export Benefit ($) | Net Electricity Cost ($) | Electricity Cost Savings ($/year) | Boiler Fuel (MMBtu) | CHP Fuel (MMBtu) | Total Fuel (MMBtu) | Natural Gas Reduction (%) | Boiler Thermal Production (MMBtu) | CHP Thermal Production (MMBtu) | Total Thermal Production (MMBtu) | Heating System Fuel Cost ($) | CHP Fuel Cost ($) | Total Fuel (NG) Cost ($) | Total Utility Cost ($) | O&M Cost Increase ($) | Payback Period (years) | Gross Capital Cost ($) | Federal Tax Incentive (30%) | IAC Grant ($) | Incentive Value ($) | Net Capital Cost ($) | Annual Cost Savings ($) | Simple Payback (years) | CO2 Emissions (tonnes) | CO2 Reduction (tonnes) | CO2 % savings | NPV | ***Note***
BAU | [13 empty] | 7752817 | 7752817 | 0 | 1139796.63 | 960053.12 | 41015 | 2140864.75 |  | 2140864.75 | 0 |  |  | 0 | #DIV/0! |  |  | 0 |  |  | 0 | 2140864.75 | [5 empty] | 0 | 0 | 0 | #DIV/0! | 774.4244 | 0 | 0 |  | Yellow cells are calculated, do not enter any values!
4043a50f-52b9-482a-90dd-8f7ea417182a | 2837.237 | 583.38 | 273.9314 | 4244701.21 |  | 2935677.738 | 1285854 |  | 997809.852 | 1699558.091 |  | 1601873.021 | 4482.1551 | 1137496.13 | 6672856.741 | 0.85328 | 164899.78 | 250070.6 | 41015 | 455985.38 |  | 455985.38 | 1684879.37 |  | 18586.964 | 18586.964 | #DIV/0! |  | 4482.155 | 4482.155 |  | 167282.68 | 167282.68 | 623268.06 | 2124223.3731 | 4.91 | 6822641.6496 |  |  | 0 | 6822641.6496 | 3641820.0631 | 1.8734 | 1204.2116 | -429.7872 | -0.55498 | 8905826.91 | Yellow cells are calculated, do not enter any values!
3ccb973a-e9ed-405e-bb41-4fcb0f4bb9a5 | 3293.6635 |  | 273.9314 | 4927546.14 |  | 3247900.461 |  |  |  | 1797415.524 |  | 1715978.762 | 4424.0631 | 1709342.09 | 6673221.313 | 0.77952 | 248173.27 | 297813.54 | 41015 | 587001.81 |  | 587001.81 | 1553862.94 |  | 19657.168 | 19657.168 | #DIV/0! |  | 4424.063 | 4424.063 |  | 176914.51 | 176914.51 | 763916.32 | 2019819.9387 | 4.54 | 5861847.6712 |  |  | 0 | 5861847.6712 | 3396768.3687 | 1.7257 | 1304.7108 | -530.2864 | -0.68475 | 8458588.15 | Yellow cells are calculated, do not enter any values!

## Sheet1
Scenario | BAU | 4043a50f-52b9-482a-90dd-8f7ea417182a | 3ccb973a-e9ed-405e-bb41-4fcb0f4bb9a5
PV Size (kW) |  | 2837.237 | 3293.6635
Wind Size (kW) |  | 583.38
CHP Size (kW) |  | 273.9314 | 273.9314
PV Total Electricity Produced (kWh) |  | 4244701.21 | 4927546.14
PV Exported to Grid (kWh)
PV Serving Load (kWh) |  | 2935677.738 | 3247900.461
Wind Total Electricity Produced (kWh) |  | 1285854
Wind Exported to Grid (kWh)
Wind Serving Load (kWh) |  | 997809.852
CHP Total Electricity Produced (kWh) |  | 1699558.091 | 1797415.524
CHP Exported to Grid (kWh)
CHP Serving Load (kWh) |  | 1601873.021 | 1715978.762
CHP Serving Thermal Load (MMBtu) |  | 4482.1551 | 4424.0631
Grid Purchased Electricity (kWh) | 7752817 | 1137496.13 | 1709342.09
Total Site Electricity Use (kWh) | 7752817 | 6672856.741 | 6673221.313
Net Purchased Electricity Reduction (%) | 0 | 0.85328 | 0.77952
Electricity Energy Cost ($) | 1139796.63 | 164899.78 | 248173.27
Electricity Demand Cost ($) | 960053.12 | 250070.6 | 297813.54
Utility Fixed Cost ($) | 41015 | 41015 | 41015
Purchased Electricity Cost ($) | 2140864.75 | 455985.38 | 587001.81
Electricity Export Benefit ($)
Net Electricity Cost ($) | 2140864.75 | 455985.38 | 587001.81
Electricity Cost Savings ($/year) | 0 | 1684879.37 | 1553862.94
Boiler Fuel (MMBtu)
CHP Fuel (MMBtu) |  | 18586.964 | 19657.168
Total Fuel (MMBtu) | 0 | 18586.964 | 19657.168
Natural Gas Reduction (%) | #DIV/0! | #DIV/0! | #DIV/0!
Boiler Thermal Production (MMBtu)
CHP Thermal Production (MMBtu) |  | 4482.155 | 4424.063
Total Thermal Production (MMBtu) | 0 | 4482.155 | 4424.063
Heating System Fuel Cost ($)
CHP Fuel Cost ($) |  | 167282.68 | 176914.51
Total Fuel (NG) Cost ($) | 0 | 167282.68 | 176914.51
Total Utility Cost ($) | 2140864.75 | 623268.06 | 763916.32
O&M Cost Increase ($) |  | 2124223.3731 | 2019819.9387
Payback Period (years) |  | 4.91 | 4.54
Gross Capital Cost ($) |  | 6822641.6496 | 5861847.6712
Federal Tax Incentive (30%)
IAC Grant ($)
Incentive Value ($) | 0 | 0 | 0
Net Capital Cost ($) | 0 | 6822641.6496 | 5861847.6712
Annual Cost Savings ($) | 0 | 3641820.0631 | 3396768.3687
Simple Payback (years) | #DIV/0! | 1.8734 | 1.7257
CO2 Emissions (tonnes) | 774.4244 | 1204.2116 | 1304.7108
CO2 Reduction (tonnes) | 0 | -429.7872 | -530.2864
CO2 % savings | 0 | -0.55498 | -0.68475
NPV |  | 8905826.91 | 8458588.15
***Note*** | Yellow cells are calculated, do not enter any values! | Yellow cells are calculated, do not enter any values! | Yellow cells are calculated, do not enter any values!