## ITA Report Template
Scenario | PV Size (kW) | Wind Size (kW) | CHP Size (kW) | PV Total Electricity Produced (kWh) | PV Exported to Grid (kWh) | PV Serving Load (kWh) | Wind Total Electricity Produced (kWh) | Wind Exported to Grid (kWh) | Wind Serving Load (kWh) | CHP Total Electricity Produced (kWh) | CHP Exported to Grid (kWh) | CHP Serving Load (kWh) | CHP Serving Thermal Load (MMBtu) | Grid Purchased Electricity (kWh) | Total Site Electricity Use (kWh) | Net Purchased Electricity Reduction (%) | Electricity Energy Cost ($) | Electricity Demand Cost ($) | Utility Fixed Cost ($) | Purchased Electricity Cost ($) | Electricity Export Benefit ($) | Net Electricity Cost ($) | Electricity Cost Savings ($/year) | Boiler Fuel (MMBtu) | CHP Fuel (MMBtu) | Total Fuel (MMBtu) | Natural Gas Reduction (%) | Boiler Thermal Production (MMBtu) | CHP Thermal Production (MMBtu) | Total Thermal Production (MMBtu) | Heating System Fuel Cost ($) | CHP Fuel Cost ($) | Total Fuel (NG) Cost ($) | Total Utility Cost ($) | O&M Cost Increase ($) | Payback Period (years) | Gross Capital Cost ($) | Federal Tax Incentive (30%) | IAC Grant ($) | Incentive Value ($) | Net Capital Cost ($) | Annual Cost Savings ($) | Simple Payback (years) | CO2 Emissions (tonnes) | CO2 Reduction (tonnes) | CO2 % savings | NPV
BAU | [13 empty] | 100000 | 0 | 0 | 9893.91 | 7689.5 | 1600 | 0 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | 0 | [5 empty] | 0 | 0 | 0 | 0 | 4.2 | 0 | 0
b620d505-3891-47e4-9be2-b7f150a6dd82 | 32.8409 |  |  | 58151.95 |  | 52959.012 | [7 empty] | 47041 | 0 | 0 | 4587.02 | 6340.71 | 1600 | 0 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | 0 | 4913.1585 | 5.42 | 24182.6258 |  |  | 0 | 0 | 0 | 0 | 3.309 | 0 | 0 | 26725.63
9e7b3977-f3a0-4d2b-b371-392e34b34c50 | 45.2187 |  |  | 80069.28 |  | 59921.11 | [7 empty] | 26455.65 | 0 | 0 | 2441.63 | 2702.23 | 1600 | 0 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 |  |  | 0 | 0 | 16533.8295 | 5.9 | 60465.457 |  |  | 0 | 0 | 0 | 0 | 2.353 | 0 | 0 | 37100.54