## Inputs and Outputs
Results Summary and Inputs
OPTIMAL SYSTEM DESIGN (with existing)
PV Nameplate capacity (kW), purchased | 876.9307
PV Nameplate capacity (kW), existing | 0
PV degradation rate (%/year) | 0.005 |  | RESULTS
PV LCOE of New Capacity ($/kWh), nominal | 0 |  | Business as usual LCC, $ | 0
Wind Nameplate capacity (kW), purchased | 100 |  | Optimal LCC, $ | 0 | NOTE: A negative LCC indicates a profit (for example when production based incentives are greater than costs.
Wind LCOE ($/kWh), nominal | 0.1181 |  | NPV, $ | 0 | NOTE: This NPV can differ slightly (<1%) from the Webtool/API results due to rounding and the tolerance in the optimizer.
Backup Generator Nameplate capacity (kW), purchased | 0 |  | IRR, % | 0
Backup Generator Nameplate capacity (kW), existing | 0 |  | Simple Payback Period, years | 0
Battery power (kW) | 1
Battery capacity (kWh) | 1.32
CHP capacity (kW) | 0
Absorption chiller capacity (tons) | 0
Chilled water TES capacity (gallons) | 0
Hot water TES capacity (gallons) | 0
Steam turbine capacity (kW) | 20.725
GHP heat pump capacity (ton) | 371.1851
GHP ground heat exchanger size (ft) | 25305.6
ANNUAL RESULTS
Present value of annual Business as Usual electric utility bill ($/year) | 12924.08
Present value of annual Business as Usual export credits ($/year) | 0
Present value of annual Optimal electric utility bill($/year) | 9408.72
Present value of annual Optimal export credits ($/year) | 0
Existing PV electricity produced (kWh), Year 1 | 0
Total PV optimal electricity produced (kWh), Year 1 | 1257959
PV optimal electricity produced (kWh), Annual Average | 1196129.44
Nominal annual optimal wind electricity produced (kWh/year) | 212890
Nominal annual optimal backup generator electricity produced (kWh/year) | 0
CHP annual optimal electricity produced (kWh/year) | 0
CHP annual runtime (hours/year) | 0
Steam turbine annual optimal electricity produced (kWh/year) | 19181.519
Total optimal electricity produced (kWh/year) | 1490030.519
Present value of annual Business as Usual boiler fuels utility bill ($/year) | 0
Present value of annual Optimal boiler fuels utility bill ($/year) | 0
Present value of annual CHP fuels utility bill ($/year) | 0
CHP annual optimal thermal energy produced (MMBtu/year) | 0
Steam turbine annual optimal thermal energy produced (MMBtu/year) | 870.4937
Percent electricity from on-site renewable resources | 0.10096
Percent reduction in annual electricity bill | 0
Percent reduction in annual fuels bill | 0
Year one total site carbon dioxide emissions (ton CO2) | 591.92
Year one total site carbon dioxide emissions BAU (ton CO2) | 664.07
Year one total carbon dioxide emissions from electric utility purchases (ton CO2) | 125.04
Year one total carbon dioxide emissions from electric utility purchases BAU (ton CO2) | 139.49
Year one total carbon dioxide emissions from on-site fuel burn (ton CO2) | 466.88
Year one total carbon dioxide emissions from on-site fuel burn BAU (ton CO2) | 524.57
SYSTEM COSTS
Total Installed Cost ($) | 1393.8418
PV Installed Cost ($) | 1403089.12
Wind Installed Cost ($) | 313700
Backup generator Installed Cost ($) | 0
Battery Installed Cost ($) | 1394.4
CHP Installed Cost ($) | 1000
Absorption Chiller Installed Cost ($) | 0
Hot water TES Installed Cost ($) | 0
Chilled water TES Installed Cost ($) | 0
Steam turbine Installed Cost ($) | 682
GHP Installed Cost ($) | 877701.5825
Operation and Maintenance (O&M)
Fixed PV O&M ($/kW-yr) | 16
Fixed Wind O&M ($/kW-yr) | 16
Fixed Backup Generator O&M ($/kW-yr) | 10
Variable Backup Generator O&M ($/kWh) | 0
Diesel fuel used cost ($) | 0
Diesel BAU fuel used cost ($) | 0
Battery replacement cost ($/kW) | 410
Battery kW replacement year | 10
Battery replacement cost ($/kWh) | 200
Battery kWh replacement year | 10
Fixed CHP O&M cost ($/kW-yr) | 0
Variable CHP O&M cost ($/kWh) | 0
Runtime CHP O&M cost ($/kW-rated/run-hour) | 0
Fixed Absorption Chiller O&M cost ($/ton-yr) | 0
Fixed Chilled water TES O&M cost ($/gallon-year) | 0
Fixed Hot water TES O&M cost ($/gallon-year) | 0
Fixed Steam Turbine O&M ($/kW-yr) | 0
Variable Steam Turbine O&M ($/kWh) | 0.009
Fixed GHP O&M ($/yr) | 0
ANALYSIS PARAMETERS
Analysis period (years) | 25
Nominal O&M cost escalation rate (%/year) | 0.025
Nominal electric utility cost escalation rate (%/year) | 0.023
Nominal boiler fuel cost escalation rate (%/year) | 0.034
Nominal CHP fuel cost escalation rate (%/year) | 0.034
Nominal discount rate (%/year) | 0.083
TAX AND INSURANCE PARAMETERS
Federal income tax rate (%) | 0.26
PV TAX CREDITS
Investment tax credit (ITC) |  |  | Reduces depreciation
As percentage | % | Maximum | Federal
Federal | 0.26 | 10000000000 | Yes
PV DIRECT CASH INCENTIVES
Investment based incentive (IBI) |  |  | Incentive is taxable | Reduces depreciation and ITC basis
As percentage | % | Maximum ($) | Federal | Federal
State (% of total installed cost) | 0 | 10000000000 | Yes | Yes
Utility (% of total installed cost) | 0 | 10000000000
Capacity based incentive (CBI) | Amount ($/W) | Maximum ($)
Federal ($/W) | 0 | 10000000000 | 0 | 0
State ($/W) | 0 | 10000000000 | 0 | 0
Utility ($/W) | 0 | 10000000000 | 0 | 0
Production based incentive (PBI) | Amount ($/kWh) | Maximum ($/year) | Federal taxable | Term (years) | System size limit (kW)
Combined ($/kWh) | 0 | 1000000000 | Yes | 1 | 1000000000
WIND TAX CREDITS
Investment tax credit (ITC) |  |  | Reduces depreciation
As percentage | % | Maximum | Federal
Federal | 0.26 | 10000000000 | Yes
WIND DIRECT CASH INCENTIVES
Investment based incentive (IBI) |  |  | Incentive is taxable | Reduces depreciation and ITC basis
As percentage | % | Maximum ($) | Federal | Federal
State (% of total installed cost) | 0 | 10000000000 | Yes | Yes
Utility (% of total installed cost) | 0 | 10000000000
Capacity based incentive (CBI) | Amount ($/W) | Maximum ($)
Federal ($/W) | 0 | 10000000000 | 0 | 0
State ($/W) | 0 | 10000000000 | 0 | 0
Utility ($/W) | 0 | 10000000000 | 0 | 0
Production based incentive (PBI) | Amount ($/kWh) | Maximum ($/year) | Federal taxable | Term (years) | System size limit (kW)
Combined ($/kWh) | 0 | 1000000000 | Yes | 1 | 1000000000
BATTERY TAX CREDITS
Investment tax credit (ITC) |  |  | Reduces depreciation
As percentage | % | Maximum | Federal
Federal | 0 | 10000000000 | No
BATTERY DIRECT CASH INCENTIVES
Investment based incentive (IBI) |  |  | Inventive is taxable | Reduces depreciation and ITC basis
As percentage | % | Maximum ($) | Federal | Federal
State (% of total installed cost) | 0 | 1000000000 | No | No
Utility (% of total installed cost) | 0 | 1000000000 | No | No
Capacity based incentive (CBI) | Amount ($/W) | Maximum ($)
Total ($/W) | 0 | 1000000000 | No | No
Total ($/Wh) | 0 | 1000000000 | No | No
CHP TAX CREDITS
Investment tax credit (ITC) |  |  | Reduces depreciation
As percentage | % | Maximum | Federal
Federal | 0 | ? | ?
CHP DIRECT CASH INCENTIVES
Investment based incentive (IBI) |  |  | Incentive is taxable | Reduces depreciation and ITC basis
As percentage | % | Maximum ($) | Federal | Federal
State (% of total installed cost) | 0 | 1000000000 | Yes | Yes
Utility (% of total installed cost) | 0 | 1000000000
Capacity based incentive (CBI) | Amount ($/W) | Maximum ($)
Federal ($/W) | 0 | 10000000000 | 0 | 0
State ($/W) | 0 | 10000000000 | 0 | 0
Utility ($/W) | 0 | 10000000000 | 0 | 0
Production based incentive (PBI) | Amount ($/kWh) | Maximum ($/year) | Federal taxable | Term (years) | System size limit (kW)
Combined ($/kWh) | 0 | 1000000000 | Yes | 0 | 0
GHP TAX CREDITS
Investment tax credit (ITC) |  |  | Reduces depreciation
As percentage | % | Maximum | Federal
Federal | 0 | ? | ?
GHP DIRECT CASH INCENTIVES
Investment based incentive (IBI) |  |  | Incentive is taxable | Reduces depreciation and ITC basis
As percentage | % | Maximum ($) | Federal | Federal
State (% of total installed cost) | 0 | 1000000000 | Yes | Yes
Utility (% of total installed cost) | 0 | 1000000000
Capacity based incentive (CBI) | Amount ($/W) | Maximum ($)
Federal ($/ton) | 0 | 10000000000 | 0 | 0
State ($/ton) | 0 | 10000000000 | 0 | 0
Utility ($/ton) | 0 | 10000000000 | 0 | 0
Production based incentive (PBI) | Amount ($/kWh) | Maximum ($/year) | Federal taxable | Term (years) | System size limit (kW)
Combined ($/kWh) | 0 | 1000000000 | Yes | 0 | 0
DEPRECIATION | PV | BATTERY | WIND | CHP | Absorption Chiller | Hot TES | Cold TES | SteamTurbine | GHP |  | MACRS SCHEDULES (INFORMATIONAL ONLY)
Federal (years) | 5 | 7 | 5 | 0 | 0 | 0 | 0 | 0 | 0 |  | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Federal bonus fraction | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 |  | 5-Year | 0.2 | 0.32 | 0.192 | 0.1152 | 0.1152 | 0.0576
[11 empty] | 7-Year | 0.1429 | 0.2449 | 0.1749 | 0.1249 | 0.0893 | 0.0892 | 0.0893 | 0.0446
ANNUAL VALUES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV Annual electricity (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Existing PV Annual electricity (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind Annual electricity (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Backup Generator Annual electricity (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHP Annual electricity (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHP Annual heat (MMBtu) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Steam Turbine Annual electricity (kWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Steam Turbine Annual heat (MMBtu) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PV Federal depreciation percentages (fraction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind Federal depreciation percentages (fraction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery Federal depreciation percentages (fraction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHP Federal depreciation percentages (fraction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Absorption Chiller Federal depreciation percentages (fraction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hot TES Federal depreciation percentages (fraction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cold TES Federal depreciation percentages (fraction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Steam turbine Federal depreciation percentages (fraction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GHP Federal depreciation percentages (fraction) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Free Cash Flow | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cumulative Free Cash Flow | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Optimal Cash Flow
Optimal Cash Flow
Operating Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Operating Expenses
Electricity bill with system before export credits |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Export credits with system |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boiler fuel bill with system |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHP fuel bill |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operation and Maintenance (O&M)
New PV fixed O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Existing PV fixed O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind fixed O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Generator fixed O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Generator variable O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Generator diesel fuel cost ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery kW replacement cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery kWh replacement cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHP fixed O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHP variable generation O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHP runtime O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Absorption Chiller fixed O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Chilled water TES fixed O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hot water TES fixed O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Steam turbine fixed O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Steam turbine variable generation O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GHP fixed O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating expenses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax deductible operating expenses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Direct Cash Incentives
PV Investment-based incentives (IBI)
State IBI | 0
Utility IBI | 0
Total | 0
PV Capacity-based incentives (CBI)
Federal CBI | 0
State CBI | 0
Utility CBI | 0
Total | 0
Wind Investment-based incentives (IBI)
State IBI | 0
Utility IBI | 0
Total | 0
Wind Capacity-based incentives (CBI)
Federal CBI | 0
State CBI | 0
Utility CBI | 0
Total | 0
Battery Investment-based incentives (IBI)
State IBI | 0
Utility IBI | 0
Total | 0
Battery Capacity-based incentives (CBI)
Total Power (per kW) CBI | 0
Total Storage Capacity (per kWh) CBI | 0
Total | 0
CHP Investment-based incentives (IBI)
State IBI | 0
Utility IBI | 0
Total | 0
CHP Capacity-based incentives (CBI)
Federal CBI | 0
State CBI | 0
Utility CBI | 0
Total | 0
Total CBI and IBI | 0
GHP Investment-based incentives (IBI)
State IBI | 0
Utility IBI | 0
Total | 0
GHP Capacity-based incentives (CBI)
Federal CBI | 0
State CBI | 0
Utility CBI | 0
Total | 0
Total CBI and IBI | 0
Production-based incentives (PBI)
New PV Combined PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Existing PV Combined PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind Combined PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHP Combined PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total taxable cash incentives | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total non-taxable cash incentives | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capital Depreciation
PV Depreciation, Commercial only
Percentage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bonus Basis | 0
Basis | 0
Amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind Depreciation, Commercial only
Percentage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bonus Basis | 0
Basis | 0
Amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery Depreciation, Commercial only
Percentage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bonus Basis | 0
Basis | 0
Amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CHP Depreciation, Commercial only
Percentage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bonus Basis | 0
Basis | 0
Amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Absorption Chiller Depreciation, Commercial only
Percentage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bonus Basis | 0
Basis | 0
Amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hot TES Depreciation, Commercial only
Percentage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bonus Basis | 0
Basis | 0
Amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cold TES Depreciation, Commercial only
Percentage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bonus Basis | 0
Basis | 0
Amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Steam Turbine Depreciation, Commercial only
Percentage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bonus Basis
Basis | 0
Amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GHP Depreciation, Commercial only
Percentage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bonus Basis | 0
Basis | 0
Amount |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total depreciation |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax benefits for LCOE Calculations
PV income tax savings, $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind income tax savings, $ |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal Investment Tax Credit
Federal ITC basis: PV | 0
Federal ITC amount: PV |  | 0
Federal ITC basis: Wind | 0
Federal ITC amount: Wind |  | 0
Federal ITC basis: Battery | 0
Federal ITC amount: Battery |  | 0
Federal ITC basis: CHP | 0
Federal ITC amount: CHP |  | 0
Federal ITC basis: GHP | 0
Federal ITC amount: GHP |  | 0
Total Federal ITC |  | 0
Total Cash Flows
Upfront Capital Cost | 0
Operating expenses, after-tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Cash incentives, after-tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation Tax Shield |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investment Tax Credit |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Free Cash Flow before income | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Discounted Cash Flow | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Optimal Life Cycle Cost | 0

## BAU Cash Flow
BAU Cash Flow
Operating Expenses | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Business as Usual electricity bill ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Business as Usual export credits ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Business as Usual boiler fuel bill ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operation and Maintenance (O&M)
Existing PV cost in $/kW |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Existing Generator fixed O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Existing Generator variable O&M cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Existing Generator fuel cost ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total operating expenses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax deductible operating expenses |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Production-based incentives (PBI)
Existing PV Combined PBI |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total taxable cash incentives |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total non-taxable cash incentives |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Cash Flows
Net Operating expenses, after-tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Cash incentives, after-tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Free Cash Flow |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Discounted Cash Flow |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BAU Life Cycle Cost | 0